Agarose Gel Electrophoresis

- You should have a rack with DNA samples, 6x loading dye (if needed), and a DNA size ladder (molecular weight marker)

- When ready to run your samples, add 6x loading dye if necessary to a final concentration of 1x.

  - How much would you add to 20 ml?

  - What is the loading dye for? (2 reasons)

- Pour a 1% agarose gel and let solidify.

  - How much agarose will you need for a 50ml gel?

  - What buffer do you use? NOT water!

  - Heat solution in microwave 30 seconds and check for complete melting.  If there is solid agarose still visible (even tiny particles – they look like glass shards) microwave another 10 seconds or until completely clear.

  - Let cool slightly, add 1ml of the DNA binding dye ethidium bromide. (EtBr) and pour into casting try with comb inserted and wait for polymerization.  The gel should be ready in about 10-15 minutes.  Don’t move the casting tray once the gel is poured until it is completely polymerized.

- Once gel is completely polymerized (opaque and solid) pull comb out EVENLY AND GENTLY and place gel tray in the electrophoresis tank.  Cover the gel completely with 1x TAE buffer BEFORE loading samples.

  - MAKE SURE WELLS ARE NEAR THE NEGATIVE ELECTRODE (BLACK) AND RUNNING TOWARD THE POSITIVE (RED)

- Load 20 ml of your molecular weight marker and 10 ml of your digested samples onto your gel in separate wells.

- Plug electrodes into power supply and run at 120 volts until dye is ¾ of the way down the gel.

- Remove electrode lid. Remove gel holder with gel and place on UV transilluminator for recording image using digital camera.